Accessibility Plan 
September 2006 - August 2007

Appendix A – Barrier Identification, September 2006

Architectural/Physical Barriers

| Location | Barrier | Proposed Solution | Person Program Responsible | Due Date | Completion Date | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| 3615 SW 13th St Gainesville, Fl 32608 | Improve accessible parking. | Fix accessible parking space (96 inch wide for the vehicle plus a 60 in wide striped access aisle adjacent to the parking space by repainting handicap parking space in front of Suite 1. | Maintenance Supervisor | 11/30/06 |  |  |
| 3615 SW 13th St Gainesville, Fl 32608 | Improve accessible parking. | Add van accessibility sign in front of Suite 7 space. | Maintenance Supervisor | 11/30/06 |  |  |
| 3615 SW 13th St Gainesville, Fl 32608 | Add accessible parking. | C Create a new handicap accessibility space in front of Suite 2. Designate space with a signs bearing the international symbol of accessibility. Add van sign as well. | Maintenance Supervisor | 11/30/06 |  |  |

| Location | Barrier | Proposed Solution | Person Program Responsible | Due Date | Completion Date | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| 3615 SW 13th St Gainesville, Fl 32608 | Uneven surface next to proposed accessible parking spot. | S Make improvements to the parking lot by smoothing surface next to the first parking spot nearest Suite 2. | Maintenance Supervisor | 11/30/06 |  |  |
| 3615 SW 13th St Gainesville, Fl 32608 | No pedestrian ramp from parking lot. | A Request a professional assessment for ramp and request improvements based on results. | Maintenance Supervisor | 11/30/06 |  |  |
| 3615 SW 13th St Gainesville, Fl 32608 | No entrance is designated as handicap accessible. | D Design a means to enter Suite 2 by notifying the receptionist in Suite 4. For example a doorbell. | Maintenance Supervisor | 11/30/06 |  |  |
| 3615 SW 13th St Gainesville, Fl 32608 | No entrance is designated as handicap accessible. | Add smooth surface on both sides of the door. Look for ways to stop the flow of water into Suite 2 while making these changes. | Maintenance Supervisor | 11/30/06 |  |  |
| 3615 SW 13th St Gainesville, Fl 32608 | No doormats at the main entrances. | Purchase mat for suite 2 and 4 entrances. | Maintenance Supervisor | 11/30/06 |  |  |
| 3615 SW 13th St Gainesville, Fl 32608 | Fire doors must remain unlocked when employees are present. | Purchase bars for the fire exit doors. | Maintenance Supervisor | 10/30/06 |  |  |

| Location | Barrier | Proposed Solution | Person Program Responsible | Due Date | Completion Date | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| 3615 SW 13th St Gainesville, Fl 32608 | Sidewalk is uneven: can be difficult to manage for someone with physical challenge | Smooth over cracks, bumps and uneven payment on the sidewalk. |  | 11/30/06 |  |  |
| 3615 SW 13th St Gainesville, Fl 32608 | Missing signage for visually impaired. | Add brail entrance and exit signs. | Maintenance Supervisor | 11/30/06 |  |  |
| 3615 SW 13th St Gainesville, Fl 32608 | No designated accessible restroom. | Designate suite 3 restrooms for handicap. Install a lever-type door handle or retrofit level on the existing doorknob. Add waterless soap dispenser no higher than 48 inches to male and female restrooms in Suite 3. Lower mirrors to 40 inches. Add height of 1-3 inches on the female toilet seat. | Maintenance Supervisor | 11/30/06 |  |  |
| 3615 SW 13th St Gainesville, Fl 32608 | Clutter in hallways. | Keep all hallways free for access. | Regional Program Coordinators | On going |  |  |

| Location | Barrier | Proposed Solution | Person Program Responsible | Due Date | Completion Date | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| 3615 SW 13th St Gainesville, Fl 32608 | Debris on sidewalks and parking lot. | Develop lawn maintenance on-going tasks to help keep facility accessible. For example keep sidewalks clean, keep plants and brush at least four inches away from the sidewalk. Power spray and blow off sidewalks and parking lot. | Maintenance Supervisor | 11/30/06 |  |  |
| 3615 SW 13th St Gainesville, Fl 32608 | Public telephone in lobby is not accessible. | Evaluate the cost of providing a public phone that is hearing aid or volume controlled, equipped with TDD or compatible. | Quality Assurance Coordinator | 11/30/06 |  |  |
| Administration 1218 NW 6th Street Gainesville, Fl 32601 | Non-Compliant with the Architectural and Physical Barriers Checklist. | Administration will provide access to the 1300 NW 6th Street, or the 3615 SW 13th Street Building and provide reasonable accommodations for any handicapped visitor, applicant, employee, participant or guest needing access to the 1218 Building. | Regional Program Coordinator/COO | On-going 12/30/06 |  | Consultation with the HR attorney indicated that the agency occupied this building prior to the enactment of the American Disabilities Act. Therefore the agency is not responsible for compliance at this time. |

| Location | Barrier | Proposed Solution | Person Program Responsible | Due Date | Completion Date | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| Outpatient Services 1300 NW 6th Street Gainesville, Fl 32601 | Accessible parking space needs to be updated. | Add a 13-inch stripe to the accessible parking space (96 inches wide for vehicle plus a 60 inch wide striped access aisle adjacent to the parking space). | Maintenance Supervisor | 12/30/06 |  |  |
| Outpatient Services 1300 NW 6th Street Gainesville, Fl 32601 | Accessible parking space needs to be updated. | Add a van accessible sign to the international symbol of accessibility. | Maintenance Supervisor | 12/30/06 |  |  |
| Outpatient Services 1300 NW 6th Street Gainesville, Fl 32601 | Accessible parking space needs to be updated. | Add a passenger loading zone accessibility. Add a pedestrian aisle parallel to where vehicles pull up. Add a pedestrian aisle at least five feet wide and 20 feet long. Create a stable and slip resistant pedestrian aisle. Recommend using two parking spaces to create the handicap accessible space. | Maintenance Supervisor | 12/30/06 |  |  |

| Location | Barrier | Proposed Solution | Person Program Responsible | Due Date | Completion Date | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| Outpatient Services 1300 NW 6th Street Gainesville, Fl 32601 | Slope of the ramp is greater than 1:12. | Smooth out cracks on the slope. | Maintenance Supervisor | 12/30/06 |  |  |
| Outpatient Services 1300 NW 6th Street Gainesville, Fl 32601 | Outdoor access and protruding objects. | The pathway is not at least 36 inches wide around protruding obstructions. Fix wood on porch overhang. Fix drop or step off of the ramp. | COO | 12/30/06 |  | Consultation with the HR attorney indicated that the agency occupied this building prior to the enactment of the American Disabilities Act. Therefore the agency is not responsible for compliance at this time. |
| Outpatient Services 1300 NW 6th Street Gainesville, Fl 32601 | Improve outdoor access-entrance. | Add a door handle that is easy to operate with one hand that is not higher than 48 inches above the floor. Evaluate the need to replace the door with one that can be opened with a five pound or less of pressure. | Maintenance Supervisor |  |  | Consultation with the HR attorney indicated that the agency occupied this building prior to the enactment of the American Disabilities Act. Therefore the agency is not responsible for compliance at this time. |
| Outpatient Services 1300 NW 6th Street Gainesville, Fl 32601 | The second floor is not accessible. | Provide reasonable accommodations for anyone needing access to services. | Program Coordinator/COO | On going |  |  |

| Location | Barrier | Proposed Solution | Person Program Responsible | Due Date | Completion Date | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| Outpatient Services 1300 NW 6th Street Gainesville, Fl 32601 | Public restrooms and spaces are not accessible. | Add signs to adequately describe permanent rooms and spaces such as bathrooms and exits. (Braille signs should be mounted 60 inches high adjacent to the latch side of the door.) | Maintenance Supervisor | 12/30/06 |  |  |
| Outpatient Services 1300 NW 6th Street Gainesville, Fl 32601 | Existing water fountain is not fully accessible. | Replace water fountain with a fountain that has at least 27 inches of clearance between the bottom of the unit and the floor to allow an individual in a wheel chair to roll under it. Or replace with bottle water. | Maintenance Supervisor | 12/30/06 |  | Consultation with the HR attorney indicated that the agency occupied this building prior to the enactment of the American Disabilities Act. Therefore the agency is not responsible for compliance at this time. |

| Location | Barrier | Proposed Solution | Person Program Responsible | Due Date | Completion Date | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| Outpatient Services 1300 NW 6th Street Gainesville, Fl 32601 | Public telephone in lobby is not accessible. | Clear floor space of at least 30 inches by 48 inches in front of the phone. Hang the phone no higher than 48 inches. Evaluate the cost to provide a public phone that is hearing aid or volume controlled, equipped with TDD or compatible. | Maintenance Supervisor Quality Assurance Coordinator | 12/30/06 |  | Consultation with the HR attorney indicated that the agency occupied this building prior to the enactment of the American Disabilities Act. Therefore the agency is not responsible for compliance at this time. |
| Outpatient Services 1300 NW 6th Street Gainesville, Fl 32601 | The fire alarm is not visible. | Place a sign on wall besides the alarm. Do not cover alarm with objects such as file cabinets. | Maintenance Supervisor | 12/30/06 |  |  |
| Outpatient Services 1300 NW 6th Street Gainesville, Fl 32601 | There is not a minimum of 80 inches of headroom in the library due to a beam. | Evaluate the situation for corrective action. | Maintenance Supervisor | 12/30/06 |  |  |
| Outpatient Services 1300 NW 6th Street Gainesville, Fl 32601 | Waiting area is not large enough for number of participants in program and with wheelchairs. | Offer alternative arrangements or accommodations while waiting to be seen. | COO | 12/30/06 |  | Consultation with the HR attorney indicated that the agency occupied this building prior to the enactment of the American Disabilities Act. Therefore the agency is not responsible for compliance at this time. |
| Interface Youth Program NW 1884 SW Grandview St. Lake City, Fl 32025 | Missing signage for accessible parking space. | Add the van sign to the handicap sign in front of the building | Maintenance Supervisor | 10/31/06 |  |  |

| Location | Barrier | Proposed Solution | Person Program Responsible | Due Date | Completion Date | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| Interface Youth Program NW 1884 SW Grandview St. Lake City, Fl 32025 | Uneven slope going from parking lot to curb. Appears to be made of stone and is rough. | Smooth the slope going to the curb. | Maintenance Supervisor | 10/31/06 |  |  |
| Interface Youth Program NW 1884 SW Grandview St. Lake City, Fl 32025 | No signage directing individuals to nearest accessible entrance. | Add signage directing individuals to the nearest accessible entrance. | Maintenance Supervisor | 10/31/06 |  |  |
| Interface Youth Program NW 1884 SW Grandview St. Lake City, Fl 32025 | Door handle on front door is not accessible. | Install a lever-type door handle on front door. | Maintenance Supervisor | 10/31/06 |  |  |
| Interface Youth Program NW 1884 SW Grandview St. Lake City, Fl 32025 | No directions to accessible public restroom or exit. | Add signage directing individuals to the nearest accessible public restrooms and exits. Signs need to be raised with Braille characters mounted 60 inches high adjacent to the latch side of the door. | Maintenance Supervisor | 10/31/06 |  |  |

| Location | Barrier | Proposed Solution | Person Program Responsible | Due Date | Completion Date | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| Interface Youth Program NW 1884 SW Grandview St. Lake City, Fl 32025 | No designated accessible public restroom. | Designate the bathroom in the boy’s hallway as the accessible public restroom: Glue down shower molding in bathroom. Install a lever- type door handle. Lower mirror in the boy’s hallway Bathroom down to 40 inches. Lower paper towel rack to 48 inches. | Maintenance Supervisor | 10/31/06 |  |  |
| Interface Youth Program NW 1884 SW Grandview St. Lake City, Fl 32025 | No directions to accessible public restroom or exit. | Post signs on the inaccessible restrooms doors to direct individuals to an accessible restroom. | Maintenance Supervisor | 10/31/06 |  |  |
| Interface Youth Program-Central 1400 NW 29th Road, Gainesville, Fl 32605 | Public telephone in lobby is not accessible. | Evaluate the cost to provide a public phone that is hearing aid or volume controlled, equipped with TDD or compatible. | Quality Assurance Coordinator | 12/30/06 |  |  |

| Location | Barrier | Proposed Solution | Person Program Responsible | Due Date | Completion Date | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| Interface Youth Program-Central 1400 NW 29th Road, Gainesville, Fl 32605 | Improve the accessible parking space. | Repaint striped access aisle for the accessible parking space. Add a sign indicating van accessibility mount on the accessible parking space. | Maintenance Supervisor | 10/31/06 |  |  |
| Interface Youth Program-Central 1400 NW 29th Road, Gainesville, Fl 32605 | No signs directing individuals to accessible entrance. | Add signage directing individuals to the nearest accessible entrance. No accessibility to the recreation area in the backyard. | Maintenance Supervisor | 10/31/06 |  |  |
| Interface Youth Program-Central 1400 NW 29th Road, Gainesville, Fl 32605 | Restroom labeled as accessible is less accessible than another restroom in the boy’s living area. | Move handicap sign from the boy’s bedroom bathroom to the living room bathroom. | Maintenance Supervisor | 10/31/06 |  |  |
| Interface Youth Program-Central 1400 NW 29th Road, Gainesville, Fl 32605 | Improve indoor access. | Widen dining room doorway to 36 inches. Add ramp to step from hallway into room before the dining room. See the ramp that goes from this room into the dining room as an adequate example. Reduce the size of the threshold going into Life Skills classroom. | Maintenance Supervisor | 10/31/06 |  |  |

| Location | Barrier | Proposed Solution | Person Program Responsible | Due Date | Completion Date | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| Interface Youth Program-Central 1400 NW 29th Road, Gainesville, Fl 32605 | Protruding objects in corridors. | Keep pathways at least 36 inches wide around protruding obstructions. Move desk near back door and file cabinet from corridors. | Regional Coordinator | 10/31/06 |  |  |
| Interface Youth Program- East 2919 Kennedy St. Palatka, Fl 32177 | During this FY this program will be renovated. |  | COO and Regional Program Coordinator | 06/30/07 |  |  |
| CDS Agency-wide | Office equipment: computers, faxes, printers, copiers, office space and work stations are generally not wheel chair accessible or easy to read for a person with low vision. | CDS would provide reasonable accommodations to provide accessibility for individuals in need of these corrections. | Regional Program Coordinator | On going |  |  |